## Slide 1: ABE Farm Paint
By: Eric Millers, Samuel Gray, and Tylor Kosary

## Slide 2: Introduction
Our objective is to automate the BioCentury Research Farm’s paint booth operating system to minimize human error and ensure workplace safety.
We sought to clarify the scope of requests from our clients so we could develop the most robust solution possible.
Our purpose was to keep an open stream of communication as we managed and executed a project to satisfy our clients.

## Slide 3: Opportunity
Our ideas offer the BioCentury Research Farm an easier and more efficient painting process.
This would allow the paint booth workers to spend less time painting and worrying about shutdown procedures.
This is crucial to the BCRF because they would have more employees available due the streamlined painting process.

## Slide 4: Solution
The solution we decided on was to use a programmable logic controller (PLC), to control the systems fan and lights.
This allows the user to press one button and the PLC uses sensors to read temperature and humidity data to control how long the fan and lights will stay on.

## Slide 5: Benefits
The BioCentury Research Farm would benefit from this project because they would experience less waste from leaving the fan on too long, a more efficient painting process for the user, and proper ventilation ensured.

## Slide 6: Evidence
Evidence for our project comes from our group’s experience with PLCs. They are programmed to follow strict lines of code. The user only presses one button and the PLC takes over from there.
Charts were used to relate temperature and humidity to dry times in order to tailor to our client’s altering environmental conditions.
These charts were implemented in our relay logic.

## Slide 7: Action Steps
We recommend the clients install the PLC system into their paint booth. The benefits from the PLC minimize ventilation safety hazards and create a more efficient process.
Clients are recommended to use our program, plug-and-go system, and installation guide to set this system up for the use of employees.
Our next steps are to follow up with our clients and provide consultation when needed.